## Sheet1
Fiber Optic & Electrical SCADA supplies
Re Bid #21-001
|  |  | Gruber |  | Horizon Solutions |  | Aaron Associates |  | Industrial Technical Services |  | Elm Electric
QTY | Description | Model No.
1 | ControlLogix Chassis 4 Slot | 1756-A4 | 523.09 | 523.09 | 310.5 | 310.5 | 265 | 265 | 404 | 404 | 314 | 314
1 | ControlLogix Chassis 7 Slot | 1756-A7 | 801.08 | 801.08 | 475.5 | 475.5 | 405 | 405 | 618 | 618 | 481 | 481
4 | ControlLogix Chassis 10 Slot | 1756-A10 | 975.44 | 3901.76 | 579 | 2316 | 494 | 1976 | 752.75 | 3011 | 586 | 2344
1 | ControlLogix Chassis 13 Slot | 1756-A13 | 1172.55 | 1172.55 | 696 | 696 | 594 | 594 | 905 | 905 | 704 | 704
8 | ControlLogix Power Supply | 1756-PA75 | 1756.28 | 14050.24 | 1042.5 | 8340 | 856.75 | 6854 | 1355.25 | 10842 | 1055 | 8440
8 | ControlLogix Ethernet Module | 1756-EN2T | 4169.59 | 33356.72 | 2475 | 19800 | 2269.125 | 18153 | 3217.5 | 25740 | 2499 | 19992
2 | ControlLogix Processor | 1756-L72 | 11586.42 | 23172.84 | 6877.5 | 13755 | 6516 | 13032 | 8941 | 17882 | 6960 | 13920
2 | 1 GB SD Memory Card for PLC | 1784-SD1 | 125.09 | 250.18 | 74.25 | 148.5 | 71.5 | 143 | 96.5 | 193 | 75 | 150
12 | ControlLogix Analog Input Module | 1756-IF8I | 3449.4 | 41392.8 | 2047.5 | 24570 | 1747.1667 | 20966 | 2661.75 | 31941 | 2072 | 24864
11 | ControlLogix Analog Output Module | 1756-OF8I | 4106.42 | 45170.62 | 2437.5 | 26812.5 | 2081 | 22891 | 3168.7273 | 34856 | 2467 | 27137
19 | ControlLogix Discrete Input Module | 1756-IA16 | 109.42 | 2078.98 | 432.75 | 8222.25 | 368.4737 | 7001 | 562.5789 | 10689 | 438 | 8322
6 | ControlLogix Discrete Output Module | 1756-OX8I | 707.58 | 4245.48 | 420 | 2520 | 357.3333 | 2144 | 546 | 3276 | 425 | 2550
3 | ControlLogix Discrete Output Module | 1756-OW16I | 990.6 | 2971.8 | 588 | 1764 | 500.6667 | 1502 | 764.3333 | 2293 | 595 | 1785
32 | ControlLogix Removable Terminal Blocks for IO Modules | 1756-TBCH | 135.2 | 4326.4 | 80.25 | 2568 | 68.3125 | 2186 | 104.3125 | 3338 | 81 | 2592
19 | ControlLogix Removable Terminal Blocks for IO Modules | 1756-TBNH | 109.42 | 2078.98 | 64.95 | 1234.05 | 56 | 1064 | 84.4211 | 1604 | 66 | 1254
9 | ControlLogix Filler Module | 1756-N2 | 44.85 | 403.65 | 26.63 | 239.67 | 23.5556 | 212 | 34.6667 | 312 | 27 | 243
1 | Studio 5000 Professional Edition perpetual w/ESD 8x5 maintenance | 9324M-RLDT31 | 10788.35 | 10788.35 | 9552.67 | 9552.67 | 6720 | 6720 | 12418 | 12418 | 8932 | 8932
2 | Communication Module | MVI56E-GSC | 2915.38 | 5830.76 | 2121.05 | 4242.1 | 2345.5 | 4691 | 2721.5 | 5443 | 2217 | 4434
1 | 714FX6 Managed Industrial Ethernet Switch, 8 Copper, 6 Fiber | 714FX6-SC | no bid |  | 2585.65 | 2585.65 | 2975 | 2975 | 4403 | 4403 | 2585 | 2585
4 | 305FX Unmanaged Ethernet Switch, 4 copper ports, 1 Fiber port | 305FX-SC | no bid |  | 464.19 | 1856.76 | 487.25 | 1949 | 676.5 | 2706 | 457 | 1828
1 | Mini Wall Mount Patch Panel, Black | F1105818BLK | 74.4 | 74.4 | 65.33 | 65.33 | 62 | 62 | 68 | 68 | 65 | 65
2 | SC Duplex 6 Pack Plate, Black, MM Adapters | F1SC6DBKMUL | 20.15 | 40.3 | 15.78 | 31.56 | 22.5 | 45 | 23 | 46 | 17 | 34
8 | Duplex 3mm MM 62.5/125, OM1, SC/PC to SC/PC, 3 Meter Patch Cable | D2YYM3FISC | 8.92 | 71.36 | 7.65 | 61.2 | 11.25 | 90 | 7.5 | 60 | 8 | 64
3 | SC connectors with 900um Boot (pks of 25) | AX105205-B25 | 453.6 | 1360.8 | 630.58 | 1891.74 | 532 | 1596 | 440 | 1320 | 370 | 1110
1800 ft roll | 6 Strand Fiber, PVC, 62.5/125 Standard, OM1, Black Fiber Optic Cable | DX006DWLS9KR | 990 | 990 | 1710 | 1710 | 4032 | 4032 | 1170 | 1170 | 1148 | 1148
1 | 8-port Din Rail Mount Fiber Optic Enclosure | FDME8RG | 107.1 | 107.1 | 85.61 | 85.61 | 112 | 112 | 121 | 121 | 87 | 87
8 | SC Simplex Fiber Optic Adapter Module w/ ceramic split sleeve, black | CMSBUSCZBL | 17.5 | 140 | 13.96 | 111.68 | 16.75 | 134 | 18.25 | 146 | 14 | 112
3 | Multimedia Outlet System Surface Mount Box | 41296-MMG | 16.45 | 49.35 | 21.09 | 63.27 | 28 | 84 | 33.6667 | 101 | 18 | 54
9 | Duplex SC Fiber Adapter MOS Modules | 41291-2CG | 14.7 | 132.3 | 18.94 | 170.46 | 28 | 252 | 30 | 270 | 12 | 108
|  |  | shipping | 759.65
| Total Bid for all Items |  |  | 200241.54 |  | 136200 |  | 122130 |  | 176176 |  | 135653
|  |  | incomplete | **
| Bid Signed |  | yes |  | yes |  | yes |  | yes |  | yes
| Non Collusion |  | yes |  | yes |  | yes |  | yes |  | yes
| Affidavit of Compliance |  | yes |  | yes |  | yes |  | yes |  | yes
| Attestation of Taxes |  | yes |  | yes |  | yes |  | yes |  | yes
| Addendum 1 and 2 |  | no |  | yes |  | yes |  | yes |  | yes